## QC Report
Environmental Analysis Laboratory Analytical Data Report
EPA Lab ID: VA01377
Client | Ken Fortino
Date Sampled | Various
Date Samples Received | 2014-07-09
Analyte | Instrument | Date Samples Analyzed | Analyst
NOx, NH3, ortho-P | Skalar | 2014-07-22 | WML
Data Reviewed By | Date
WML - Lab Manager | 2014-08-26
Data Qualifications | N/A
2014 Detection Limits
Parameter | MDL/LOD (mg/L) | LOQ (mg/L)
NOx-N | 0.01102 | 0.045725
NH4-N | 0.009484 | 0.039353
ortho-P | 0.016075 | 0.051147

## Data
Sample | [NOx-N] (mg/L) | [NH3-N] (mg/L) | [ortho-p] (mg/L) | Highlighted cells are concentrations below established limits of detection .
Rep Water - 0 | 0.034185 | 0.08413 | 0.0082288
Rep Water - N | 0.18373 | 0.19463 | 0.011927
#1 – C0 | 0.068203 | 0.092908 | 0.0087997
#2 – 0N | 7.0864 | 0.039541 | 0.031303
#3 – 00 | 5.415 | 0.020193 | 0.02959
#4 – CN | 0.1836 | 0.15183 | 0.013702
#5 – 00 | 5.7908 | 0.2524 | 0.022212
#6 – C0 | 0.14383 | 0.17519 | 0.031898
#7 – 0N | 1.6125 | 0.021286 | 0.036033
#8 – 00 | 1.5752 | 0.020969 | 0.034359
#9 - 00 | 6.8911 | 0.029571 | 0.0040409
#10 – CN | 0.15891 | 0.073034 | 0.018946
#11 – CN | 0.28169 | 0.19809 | 0.026429
#12 – C0 | 0.1009 | 0.048385 | 0.01588
#13 – C0 | 0.00060024 | 0.054859 | 0.023676
#14 – 0N | 7.0383 | 0.029076 | 0.023959
#15 – 0N | 1.9188 | 0.024323 | 0.041617
#16 – CN | 0.093927 | 0.47805 | 0.073431
Rep Water - 0 | 0.030496 | 0.2156 | 0.032373
Rep Water - N | 0.14517 | 0.22629 | 0.027149
#1 – C0 | 3.5934 | 0.031212 | 0.044318
#2 – 0N | 0.38841 | 0.016679 | 0.051178
#3 – 00 | 0.32521 | 0.015401 | 0.040768
#4 – CN | 2.0289 | 0.046648 | 0.034282
#5 – 00 | 0.35871 | 0.012762 | 0.038882
#6 – C0 | 2.8511 | 0.0089454 | 0.033841
#7 – 0N | 0.27472 | 0.010937 | 0.023896
#8 – 00 | 0.32329 | 0.0061861 | 0.036187
#9 - 00 | 0.35059 | 0.0012535 | 0.04615
#10 – CN | 2.5639 | 0.035183 | 0.024136
#11 – CN | 2.0782 | 0.010097 | 0.051096
#12 – C0 | 0.89065 | 0.013273 | 0.036757
#13 – C0 | 2.4434 | 0.012583 | 0.034153
#14 – 0N | 0.3673 | 0.13441 | 0.081498
#15 – 0N | 0.33773 | 0.071691 | 0.073767
#16 – CN | 2.6399 | 0.02435 | 0.032435
Rep Water - 0 | 0.048844 | 0.21918 | 0.025532
Rep Water - N | 0.25554 | 0.34172 | 0.036964
#1 – C0 | 0.22337 | 0.011096 | 0.028703
#2 – 0N | 0.21431 | 0.11076 | 0.06378
#3 – 00 | 0.22562 | 0.024711 | 0.038494
#4 – CN | 0.22204 | 0.06656 | 0.045224
#5 – 00 | 0.25241 | 0.019889 | 0.03682
#6 – C0 | 0.25345 | 0.061809 | 0.035117
#7 – 0N | 0.20905 | 0.026761 | 0.03753
#8 – 00 | 0.23328 | 0.34396 | 0.078512
#9 - 00 | 0.25413 | 0.097772 | 0.040466
#10 – CN | 0.27893 | 0.030574 | 0.02429
#11 – CN | 0.25139 | 0.01267 | 0.034426
#12 – C0 | 0.17599 | 0.011961 | 0.022908
#13 – C0 | 0.24119 | 0.077147 | 0.048107
#14 – 0N | 0.28811 | 0.035225 | 0.026487
#15 – 0N | 0.26091 | 0.017219 | 0.037794
#16 – CN | 0.22512 | 0.035338 | 0.01612
Rep Water - 0 | 2.9201 | 0.024108 | 0.01671
Rep Water - N | 3.4877 | 0.083796 | 0.033726
#1 – C0 | 0.21152 | 0.022198 | 0.033889
#2 – 0N | 0.14396 | 0.017672 | 0.049172
#3 – 00 | 0.17471 | 0.15952 | 0.072894
#4 – CN | 0.1851 | 0.0725 | 0.043948
#5 – 00 | 0.2002 | 0.16164 | 0.081577
#6 – C0 | 0.19838 | 0.0043152 | 0.040566
#7 – 0N | 0.16946 | 0.015895 | 0.049326
#8 – 00 | 0.1465 | 0.02542 | 0.01689
#9 - 00 | 0.17633 | 0.010714 | 0.037203
#10 – CN | 0.2388 | 0.077435 | 0.025801
#11 – CN | 0.2349 | 0.063342 | 0.038326
#12 – C0 | 0.18223 | 0.10431 | 0.028055
#13 – C0 | 0.17315 | 0.0027301 | 0.015655
#14 – 0N | 0.21766 | 0.013442 | 0.037578
#15 – 0N | 0.18029 | 0.019912 | 0.041674
#16 – CN | 0.20697 | 0.059698 | 0.035971
Rep Water - 0 | 0.89295 | 0.075939 | 0.042476
Rep Water - N | 0.80913 | 0.021309 | 0.031747
Lancer Pk - surface | 0.018889 | 0.072877 | 0.015429
Lancer Pk - deep | 0.019367 | 0.020625 | 0.0033549
Daulton - surface | 0.042436 | 0.43661 | 0.064226
Daulton - deep | 0.012359 | 0.069246 | 0.0066458